## README
Lexogen Services - Sequencing Only Sample Submission Form
Dear Lexogen Services Customer!
Thank you for choosing Lexogen Services for your project.
In order to ensure a smooth processing please fill the sample submission form according to the explanations below.
We look forward to receiving your samples! In case you have further questions please do not hesitate to contact us.
Your Lexogen Services Team
Start with the tab Shipment Conditions and Description
Make sure you follow the steps 1 - 8.
If you are done with a task click the tickbox on the right and the task will turn green.
If all tasks are green you are done and ready to send the samples.
Skip these steps - If you are sending FASTQ files for a bioinformtics only project (see tab 3.)
Fill the respecitve sample specification sheets (1 or 2)
In the tab shipment conditions and description, task 5a, tell us which sequencing platform you need.
Place the according tickmarks and then fill the respective tab with its corresponding columns.
If your project includes customized bioinformatics, or is a bioinformatic only service, fill in tab 3
Mark storage boxes of sample tubes/plates with the project number and include a copy of the sample specification sheet(s) inside the package.
QUESTIONS?
If you are unsure about issues related to your samples (DNA) please contact services@lexogen.com.
If you are unsure about issues related to the shipment of your samples please contact johanna.jenisch@lexogen.com (Logistics).

## Shipment Conditions&Description
LEXOGEN SERVICES - SHIPMENT CONDITIONS | [5 empty] | Done?
1. Sample ID | Label tubes using simple and unique names, preferably running numbers. |  |  |  |  | FALSE
2. Volume/concentration | Ready to sequence Pools - Aviti: >=7nM in >40 ul volume. For lower concentrations, please contact services@lexogen.com
| Ready to sequence Pools - Illumina: >4 nM in >25 µl volume |  |  |  |  | FALSE
3. Tubes | 1.5 ml (please avoid using 0.2 ml, 0.5 ml tubes and PCR strips); we recommend low-bind tubes for dsDNA libraries. |  |  |  |  | FALSE
4. Packaging requirements | - primary packaging (leakproof): tube or sealed plate
- secondary packaging: cardboard/plastic box
- third packaging: plastic zip bag
| - shipping packaging: thick walled styrofoam box + cooling material (+ 2x UN1845 dry ice sticker on the outer packaging, if applicable) + outer cardboard if needed |  |  |  |  | FALSE
Do not put the tubes and plates directly on dry ice because they can crack. Instead, put them in a labeled cardboard/plastic box. Tubes could be placed in a plastic bag labeled with the project number.
We recommend to use very thin bubble wrap or cardboard pieces to place inbetween the stacked plates to prevent direct contact and cracking.
This will allow you to stack plates in a box.
5. Sample Info | Please fill and print in the project relevant tab (1, or 2) of the Sample Submission Form with Sample Tube IDs and Contact Information, place it in the package and send a copy via email to services@lexogen.com.
FALSE
FALSE
5a. fill the respective tab only | I am shipping DNA and require sequencing only on Illumina --> fill in the tab 1 (Samples Illumina Sequencing) only |  |  |  |  | FALSE
| I am shipping DNA and require sequencing only on AVITI --> fill in tab 2 (Samples AVITI Sequencing) |  |  |  |  | FALSE
6. Sample buffer | dsDNA libraries : Please provide DNA samples in Lexogen EB buffer, 1x TE buffer (10mM Tris pH 8.0, 1mM EDTA), Low TE buffer, or nuclease-free water. |  |  |  |  | FALSE
7. Shipping address / to: | Institution/department: | Lexogen GmbH - Services
| Name: | FAO Johanna Jenisch
| Additional address: | Project Number [NNNNNN] |  |  |  | FALSE
| Street address 1: | Campus Vienna Biocenter 5
| Zip code, city, country: | 1030 Vienna, Austria
8. Shipment directed from: | Name:
Institution:
Department:
| Street address 1: |  |  |  |  | FALSE
Street address 2:
| Zip code: |  |  |  |  | FALSE
City:
Country:
Email:
Phone number:
Submission Date:
9. Shipping recommendations | within Europe | Dry ice amount: min. 10 kg | Ship preferably on Monday to Wednesday (do not ship if less than 10 kg of dry ice fit into the shipping box!) - UN1845 labels (2 pcs) required.
| from the US, UK to Vienna | Dry ice amount: 20-30 kg | Ship preferably on Monday, Thursday or Friday. Use a thick walled styrofoam box + a cardboard cover box. - UN1845 labels (2 pcs) required.
| Courier preferences | we recommend FedEx (International Priority) or UPS (Express Saver), World Courier, Biocair |  | Incoterms | DDP - delivered duty paid (obligatory)
| Following information might be useful for setting up the shipment and export documents: Harmonized Tariff Schedule (HTS) term “2934999090” (Nucleic acids and their salts). On the pro-forma invoice and FedEx form use: XX tubes with RNA samples, non-toxic, non-hazardous, non-contagious. Value 1.00 € each, total: X.XX € |  |  |  |  | FALSE
| Animal derived samples: | Please request our import permit for customs clearance (see email address below) before setting up the shipment
Questions on shipping documents/packaging/customs to: johanna.jenisch@lexogen.com (Logistics)

## 1. Samples Illumina Sequencing
| Volume (min. 25 µl) | Molarity (min. 4 nM) |  |  | Lanemix / Pool trace data submitted (Fragment Analyzer/Bioanalyzer/Tapestation)
Pool ID-1 |  |  |  |  | Lanemix / Pool quantification data submitted (Qubit, Bioanalyzer: in ng/ul and nM)
Pool ID-2
Pool ID-3
SAMPLE INFORMATION FOR SEQUENCING [Illumina]
Pool ID | Sample ID | Library Kit Type | i7 index sequence | i5 index sequence | Species | Condition for Differential Expression | Additional Info
Note on A4: Insert rows below to include additional pools, if required.
Note on A7: Pool_ID should match the labelling of submitted tubes.
Note on B7: If sample is prepared as duplicate or triplicate, please enter them accordingly as individual sample per row.

## 2. Samples AVITI Sequencing
| Volume (min. 40 µl) | Molarity (min. 7 nM) | Average Size (bp) |  | Lanemix / Pool trace data submitted (Fragment Analyzer/Bioanalyzer/Tapestation)
Pool ID_1 |  |  |  |  | Lanemix / Pool quantification data submitted (Qubit, Bioanalyzer: in ng/ul and nM)
Pool ID_2
Pool ID_3
SAMPLE INFORMATION FOR SEQUENCING [AVITI]
Pool ID | Sample ID | Library Kit Type | Indexing Kit / Supplier | i7 index sequence | i5 index sequence | Species | Condition for Differential Expression | Additional Info
Note on A4: Insert rows below to include additional pools, if required.
Note on A7: Pool_ID should match the labelling of submitted tubes.
Note on B7: Enter all samples included in each pool. Duplicate or triplicate samples should be entered as individual samples on separate rows.
Note on C7: Enter Kit Name and Catalog number(s)
Note on D7: Kit/Index set name and Catalog Number

## 3. Bioinformatics
File information for Customized Bioinformatics requests
File name (mandatory) | Condition for differential expression (optional) | i7 index sequence (fill if known) | i5 index sequence (fill if known) | Library Kit Type (fill if known) | Tube ID (if relevant) | Comments (optional)